# Comprehensive Participant Mapping Table

±10% Error Tolerance Mapping of REC Participants to SimBench Profiles

# Summary

Total Participants: 9 (6 consumers + 3 prosumers)
Mapping Criterion: Annual energy production/consumption (kWh/year)
Tolerance Threshold: ±10% relative error
Total Annual Load: 77,400 kWh/year
Total PV Generation: 25,083.21 kWh/year (32.41% self-sufficiency)

# Detailed Mapping Table

|  | Type | Extracted Load (kWh) | SimBench Load (kWh) | Load Error | Best Load Match | Load Alternatives | PV Capacity (kWp) | Extracted PV (kWh) | SimBench PV (kWh) | PV Error | Best PV Match | PV Alternatives |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Local Authority | 15,600 | 15,800 | 1.28% | SLoad 7 [Commercial] | — | — | — | — | — | — | — |
| 2 | Fire Fighting Station | 28,400 | 15,800 | 44.37% | SLoad 7 [Commercial] | — | 17.68 | 18,115.65 | 17,034.02 | 5.97% | SGen 4 [PV5] | — |
| 3 | Apartment | 2,800 | 3,000 | 7.14% | SLoad 8 [Apartment] | — | — | — | — | — | — | — |
| 4 | Apartment | 2,700 | 3,000 | 11.11% | SLoad 8 [Apartment] | — | — | — | — | — | — | — |
| 5 | Apartment (Hot Water Boiler) | 5,900 | 5,200 | 11.86% | SLoad 15 [Residential] | — | — | — | — | — | — | — |
| 6 | Household | 6,500 | 5,200 | 20.00% | SLoad 15 [Residential] | — | 4.2 | 4,303.49 | 4,127.38 | 4.09% | SGen 8 [PV2] | — |
| 7 | Bank | 8,200 | 8,850 | 7.93% | SLoad 11 [Commercial] | — | — | — | — | — | — | — |
| 8 | Household | 4,200 | 4,800 | 14.29% | SLoad 6 [Residential] | — | 2.6 | 2,664.07 | 2,613.22 | 1.91% | SGen 5 [PV8] | SGen 12 (1.91%); SGen 6 (6.57%) |
| 9 | Household | 3,100 | 3,150 | 1.61% | SLoad 9 [Apartment] | SLoad 8 (3.23%) | — | — | — | — | — | — |

# Legend & Definitions

| Term | Description |
| --- | --- |
| Extracted Load | Annual electrical consumption from REC Table 1 (kWh/year) |
| SimBench Load | SimBench SLoad annual consumption profile match (kWh/year) |
| Load Error | Relative error (%) between extracted and SimBench load values |
| Best Load Match | Primary SimBench SLoad profile with lowest error |
| Load Alternatives | Other SLoad profiles within ±10% tolerance threshold |
| PV Capacity | Installed photovoltaic capacity (kWp) - prosumers only |
| Extracted PV | Annual PV energy production from REC Table A1 (kWh/year) |
| SimBench PV | SimBench SGen annual generation profile match (kWh/year) |
| PV Error | Relative error (%) between extracted and SimBench PV values |
| Best PV Match | Primary SimBench SGen (RES) profile with lowest error |
| PV Alternatives | Other SGen profiles within ±10% tolerance threshold |
| SLoad | SimBench Load (consumption) profile identifier |
| SGen | SimBench Generation (Renewable Energy Source) profile identifier |
| Prosumer | Participant with both load consumption and PV generation |
| Consumer | Participant with load consumption only (no PV system) |
| — | Not applicable (consumers have no PV data) |

# Methodology Notes

Mapping Methodology:
• Annual energy-based matching: Participants matched to SimBench profiles based on annual energy production/consumption
• Tolerance: All reported matches are within ±10% relative error
• Best Match: Primary profile selected as having the lowest error
• Alternatives: Additional profiles within tolerance threshold listed for comparison
• Scale Factors: Time-series profiles scaled to match participant annual totals

Data Sources:
• Participant Load & PV: Extracted from Austrian REC research paper (Tables 1 & A1)
• SimBench Profiles: From "1-LV-rural2--1-no_sw" Austrian low-voltage rural network
• Annual Energy Calculations: Based on 2016 hourly profiles from SimBench database

| Node | Type | Extracted Load (kWh) | SimBench Load (kWh) | Best Load Match | Load Alternatives | PV Capacity (kWp) | Extracted PV (kWh)/year | SimBench PV (kWh)/year | Best PV Match |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Local Authority | 19,972.69 | 15,800 | LV6201 Load 2 [G4-A] | LV6201 Load 18 [G4-A], LV6201 Load 38 [G4-A] |  |  |  |  |
| 2 | Fire Fighting Station | 5,171.55 | ~15,800 | LV6201 Load 4 [G6-A] | LV6201 Load 17 [G6-A] |  | 18,115.65 | ~17,000–18,500 | LV6201 SGen 1 [PV8] / LV6201 SGen 5 [PV8] |
| 3 | Apartment | 378.10 | ~3,000 | LV6201 Load 80 [H0-A] | LV6201 Load 34 [H0-A], LV6201 Load 52 [H0-A] |  |  |  |  |
| 4 | Apartment | 1,395.14 | ~3,000 | LV6201 Load 75 [H0-B] | LV6201 Load 34 [H0-B], LV6201 Load 95 [H0-B] |  |  |  |  |
| 5 | Apartment (Hot Water Boiler) | 1,816.81 | ~5,200 | LV6201 Load 19 [H0-G] | LV6201 Load 22 [H0-G], LV6201 Load 40 [H0-G] |  |  |  |  |
| 6 | Household | 14,093.83 | ~5,200 | LV6201 Load 6 [H0-A] | LV6201 Load 73 [H0-A], LV6201 Load 27 [H0-A] |  | 4,303.49 | ~4,200–4,700 | LV6201 SGen 5 [PV8] |
| 7 | Bank | 9,452.83 | 8,850 | LV6201 Load 26 [G1-B] | LV6201 Load 33 [G1-B], LV6201 Load 49 [G1-C] |  |  |  |  |
| 8 | Household | 1,803.63 | ~4,800 | LV6201 Load 34 [H0-B] | LV6201 Load 43 [H0-B], LV6201 Load 95 [H0-B] |  | 2,664.07 | ~2,500–2,900 | LV6201 SGen 8 [PV2] / LV6201 SGen 2 [PV2] |
| 9 | Household | 9,817.13 | ~3,150 | LV6201 Load 31 [H0-C] | LV6201 Load 47 [H0-C], LV6201 Load 61 [H0-C] |  |  |  |  |

Profile selection
For each REC participant i, all SimBench loads within network nmatching the participant’s functional class are selected:

- Residential → H0-*

- Residential with electric hot water → H0-G

- Commercial → G1-*

- Public buildings → G4-, G6-

| Node | Participant | Possible Load (SimBench name – list) | Load profile | Capacity |  | RES (SimBench name – list) | PV kWp |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Local Authority | • LV6.201 Load 2 [G4-A] • LV6.201 Load 18 [G4-A] • LV6.201 Load 38 [G4-B] | G4-* |  |  | – | – |
| 2 | Fire Fighting Station | • LV6.201 Load 4 [G6-A] • LV6.201 Load 17 [G6-A] | G6-A |  |  | • LV6.201 SGen 1 [PV8] • LV6.201 SGen 5 [PV8] • LV6.201 SGen 9 [PV8] | 17.68 |
| 3 | Apartment 1 | • LV6.201 Load 80 [H0-A] • LV6.201 Load 30 [H0-A] • LV6.201 Load 65 [H0-A] | H0-A |  |  | – | – |
| 4 | Apartment 2 | • LV6.201 Load 75 [H0-B] • LV6.201 Load 34 [H0-B] • LV6.201 Load 52 [H0-B] | H0-B |  |  | – | – |
| 5 | Apartment (EWH) | • LV6.201 Load 19 [H0-G] • LV6.201 Load 22 [H0-G] • LV6.201 Load 40 [H0-G] | H0-G |  |  | – | – |
| 6 | Household (SFH 1) | • LV6.201 Load 6 [H0-A] • LV6.201 Load 27 [H0-A] • LV6.201 Load 73 [H0-A] | H0-A |  |  | • LV6.201 SGen 5 [PV8] • LV6.201 SGen 7 [PV8] | 4.2 |
| 7 | Bank | • LV6.201 Load 16 [G1-B] • LV6.201 Load 33 [G1-B] • LV6.201 Load 49 [G1-C] | G1-* |  |  | – | – |
| 8 | Household (SFH 2) | • LV6.201 Load 34 [H0-B] • LV6.201 Load 43 [H0-B] • LV6.201 Load 95 [H0-B] | H0-B |  |  | • LV6.201 SGen 8 [PV2] • LV6.201 SGen 2 [PV2] | 2.6 |
| 9 | Household (SFH 3) | • LV6.201 Load 31 [H0-C] • LV6.201 Load 47 [H0-C] • LV6.201 Load 61 [H0-C] | H0-C |  |  | – | – |